## GNTL Estimate Summary
GNTL Project Estimate Summary | 2014-04-09
Accumulated by MH Donahue
Blue Route
Miles for Blue Route | 222.52
Est. (2013$)
Material & Construction | 0
Engineering and Program Management | 0
Construction Phase Contingency | 0
500 kV Line Materials & Construction | 0
MP Internal Services | 0
Professional Permitting Support | 0
ROW Acquisition Support | 0
Land & Land Rights | 30220767.3236
500 kV Transmission Line | 30220767.3236
500/230 kV Substation Materials & Construction | 0
MP Internal & Professional Services | 0
Land & Land Rights | 500000
Blackberry 500/230 kV Substation | 500000
500 kV Series Compensation Materials & Construction | 24480000
Land & Land Rights | 250000
GNTL 500 kV Series Compensation Station | 24730000
230 kV Modifications Transmission Line Materials & Construction | 0
230 kV Modifications Substation Materials & Construction | 0
Land & Land Rights | 0
Minnesota Power 230 kV Modifications | 0
TOTAL PROJECT | 55450767.3236
PROJECT CONTINGENCY (10%) | 5545076.7324
TOTAL ESTIMATED COST (2013$) | 60995844.056
Project Estimate with Contingency Allocated
500 kV Transmission Line | 33242844.056
Blackberry 500/230 kV Substation | 550000
GNTL 500 kV Series Compensation Station | 27203000
Minnesota Power 230 kV Modifications | 0
60995844.056
Project Funding Sources 2013 Dollars
Minnesota Power Base Investment 33.3% | 20311616.0706
Minnesota Power Renewable Optimization Investment 17.7% | 10796264.3979
Total Minnesota Power -51% | 31107880.4685
Manitoba Hydro Portion - 49% | 29887963.5874
Total Project | 613843175.7981

## GNTL-TRADE SECRET
2014-04-09
Great Northern Transmission Line Project
Preferred Route Estimate - Blue Route | Estimate | Category | Phase Total
Internal and Professional Servioes
MP Internal Services
Project Manager
T Line Engineer
Substation Engineer
System Planner
Land
Environmental
Legal
Project Controls
Project Admin
Travel
Expenses
Public Outreach
Permit Fees
Development Contingency
Total MP Internal Services
Professional Services
HDR -
3rd Party DOE
Preliminary Engineering
Legal - Permitting
Permitting Support
Right-of-way Agent
Legal - Land Acquisition
ROW Acquisition Support
Land and Land Rights
Easement Payments
Crop Damage Payments
Wetland Offset Payment
Total Land and Land Rights
Internal and Professional Services
Material & Construction
Hardware & Insulator: Material
Steel Structure: Material
Steel Structure: Labor
Foundation: Material
Foundation: Labor
Guy: Material
Anchorage: Guyed V Material
Anchorage: Guyed V Labor
Helical Pedestal and Stub Angle Cap: SS Lattice Material
Helical Pedestal and Stub Angle Cap: SS Lattice Labor
Conductor: Material
Conductor: Labor
Guard Structures for Installing Wires: Labor
OHGW: Material
OHGW: Labor
OPGW Cable: Material
OPGW Cable: Labor
Fiber Optic Splicing: Labor
OPGW Splice: Material
Flight Diverters / Aerial Marker Balls: Labor
Flight Diverters / Aerial Marker Balls: Material
Grounding: Material
Grounding: Labor
Matting: Material
Matting: Labor
Culverts: Material
Culverts: Labor
BMP measures:
Restoration
Receive, Unload and Yard Owner Materials
Material Storage Yards:
Project Field Office:
Access Road Construction: Labor
ROW Clearing: Labor
OPGW Regeneration Site: Material
OPGW Regeneration Site: Labor
Sounding (determine bearing depth): Labor
Mobilization
Total Material & Construction
Engineering and Program Management
Engineering and Support (includes lydar)
Geotech
Owner provided Construction / Structure Survey
Project Management
Contractor - Construction Management
Contract - Construction Inspection
Contract - Compliance Monitors (environmental)
Equipment / Materials Sales Tax
Insurance / bonding
Total Engineering and Program Management
Construction Phase Contingency
Total Construction Phase
Total Great Northern Transmission Line
[TRADE SECRET DATA EXCISED]
[TRADE SECRET DATA EXCISED]
[TRADE SECRET DATA EXCISED]

## BLACKBERRY-TRADE SECRET
GNTL Project Estimate | 2014-04-09
Blackberry 500/230 kV Subsation
DESCRIPTION | Labor and Material
Equuipment (outdoor)
Strucutres (tubular steel)
Foundations
Cable & Conduit
Control House
Site Improvements
Testing & Energization
Subtotal
Contractor Mob/Demob
Construction Management
Engineering
Contingency
500/230 kV Substation Materials & Construction
Land and Land Rights
TOTAL ESTIMATED COST
[TRADE SECRET DATA EXCISED]

## SERIES COMP-TRADE SECRET
GNTL Project Estimate | 2014-04-09
GNTL 500 kV Series Compenstion Station
DESCRIPTION | 2013 Dollars
ESTIMATED COST SUMMARY
500KV Series Comp (EPC)
500KV Series Comp (CM)
500KV Series Comp (OE)
Land and Land Rights
Contingency
TOTAL ESTIMATED COST
[TRADE SECRET DATA EXCISED]

## 230 Kv MODS TRADE SECRET
GNTL Project Estimate | 2014-04-09
GNTL 230 kV System Modification
T-Line Revisions For GNTL Project
230 kV Line Portion | Additions
Total Material Cost
R/W Acquisition
Engineering / Project Management Labor (MP)
Contract - Geo Tech / Foundation Eng
Contract - Clearing
Contract - Survey (Lidar / Staking)
Contract - Inspection (API)
Contract - Foundations
Contract - Line Construction
Contract - R/W Restoration
Contingency
Total Direct Cost
Substation Revisions For GNTL Project
Relay Panel Upgrades
Blackberry 230 kV Subsation
Arrowhead 230 kV Substation
Forbes 230 kV Substation
Hilltop 230 kV Subsation
Total Substation Upgrades
[TRADE SECRET DATA EXCISED]
[TRADE SECRET DATA EXCISED]

## LINE EST ASSUMP TRADE SECRET
GNTL
500kV Estimate of Costs - Segment Route Options
Date: 3/21/2014 Rev: E
ASSUMPTIONS
SEGMENT SPECIFIC INFORMATION
No | Segment Name |  |  |  | Mi | Structure Type |  | Str Qty
6 | Orange/Blue 1 |  |  | PQ | 40.0284 | self supporting-65% guyed V-35% |  | 159
11 | Blue 3 |  |  | RS | 46.6193 | guyed V-100% |  | 177
14 | Orange/Blue 2 |  |  | QR | 25.625 | guyed V-100% |  | 109
15 | Blue 4 |  |  | Sta | 32.8456 | guyed V-100% |  | 126
18 | Blue 5 |  |  | TN | 32.964 | guyed V-100% |  | 115
19 | Blue 6 |  |  | NO-26 (BLUE) | 44.4413 | guyed V-100% |  | 169
[5 empty] | 222.5237 |  |  | 855
PARALLEL CORRIDORS
No | Segment Name | Corridor Type |  |  | Structure Type Used |  | Spans | Length
6 | PQ | Parrallel 230kV |  |  | Self Supporting Lattice |  | 1400 | 2
6 | PQ | Parrallel 500kV |  |  | Guyed V Lattice |  | 1250 | 10.5
10 | RU | Parrallel 500kV |  |  | Guyed V Lattice |  | 1250 | 23.5
11 | RS | Parrallel 230kV |  |  | Guyed V Lattice |  | 1400 | 46.5
19 | NO-OR | Parrallel 230kV |  |  | Guyed V Lattice |  | 1400 | 9.5
14 | QR | Parrallel 500kV |  |  | Guyed V Lattice |  | 1250 | 25.5
18 | TN | Parrallel 230kV |  |  | Guyed V Lattice |  | 1400 | 12.65
19 | NO-BL | Parrallel 230kV |  |  | Guyed V Lattice |  | 1400 | 4
LAND USE BY SEGMENT
Segment ID No |  | Farmland | Hayland Pasture | Shrubland | Wetlands | Forested Wetlands | Forest | Other | Miles Farmland
6 | PQ | 27.51% | 4.989% | 15.66% | 25.26% | 18.39% | 7.491% | 0.7045% | 11.0098
11 | RS | 3.986% | 3.35% | 0% | 33.11% | 55.39% | 3.031% | 1.135% | 1.8581
14 | QR | 2.735% | 3.141% | 2.587% | 20.33% | 66.59% | 4.028% | 0.5913% | 0.70076
15 | Sta | 0% | 0.813% | 0.6781% | 5.661% | 82.38% | 9.87% | 0.7237% | 0
18 | TN | 0% | 1.178% | 3.091% | 6.67% | 58.91% | 29.89% | 1.666% | 0
19 | NO-26 (BLUE) | 0.06642% | 0.09784% | 3.237% | 4.812% | 41.13% | 48.75% | 1.904% | 0.029516
[9 empty] | 13.5982 | Use for crop damage payment calculations
#REF!
STRUCTURE SPECIFIC INFORMATION | [8 empty] | #REF!
STRUCTURE TYPE |  |  |  | WEIGHT |  | Helical Pile Depths in Wetlands |  | CIP Foundations in Uplands
500kV Tangent-SC (Guyed Mast Lattice) |  |  |  | 18600 |  | 30ft |  | 20ft Depth - Helical
500kV Tangent-SC (Lattice) |  |  |  | 27800 |  | 30ft |  | 3ft x 25ft
500kV Light Angle-SC (Lattice) |  |  |  | 35300 |  | 30ft |  | 4ft x 27ft
500kV MA Dead End-SC (Lattice) |  |  |  | 56780 |  | 30ft |  | 5ft x 29ft
500kV HVY Dead End-SC (Lattice) |  |  |  | 86600 |  | 30ft |  | 6ft x 31ft
utilized helical screw in anchorage for self supporting lattice structures in wetlands
utilized cast in place concrete foundations for self supporting lattice structures in uplands
500kV STRUCTURE TYPES CONSIDERED IN VARIOUS LAND USE AREAS
500kV Tangent-SC (Guyed Mast Lattice) |  |  |  | Secondary 500kV str - to be used in parrallel corridors, wetlands and wooded wetlands; or limited use areas where the overall footprint is not the larger concern
500kV Tangent-SC (Lattice) |  |  |  | Primary 500kV str - to be used in non wetlands areas to minimize footprint to agricultural or residential areas
500kV Light Angle-SC (Lattice) |  |  |  | Primary 500V str - to be used in all areas for running angles
500kV MA Dead End-SC (Lattice) |  |  |  | Primary 500kV str - to be used in all areas for light dead ends
500kV HVY Dead End-SC (Lattice) |  |  |  | Primary 500kV str - to be used in all areas for heavy dead ends
TREE CLEARING ALLOWED
allowed for full width ROW tree clearing in all wooded wetlands and forested areas
Segment ID No |  | Length of Clearing Required |  |  |  | Number of Spans | Percentage of Segment Requiring Clearing
|  | (feet) |  | (miles) | (acres)
6 | PQ | 54706 |  | 10.361 | 313.9692 | 71 | 44.65%
11 | RS | 143806.4657 |  | 27.2361 | 825.3355 | 151 | 85.31%
14 | QR | 95550 |  | 18.0966 | 548.3815 | 98 | 89.91%
15 | Sta | 159991.4608 |  | 30.3014 | 918.2246 | 126 | 100%
18 | TN | 154560 |  | 29.2727 | 887.0523 | 115 | 89.15%
19 | NO-26 (BLUE) | 210908.5268 |  | 39.9448 | 1210.4484 | 165 | 97.63%
AERIAL MARKER BALLS AND BIRD FLIGHT DIVERTERS INCLUDED
aerial marker balls |  |  | 74 |  |  | allowed for marker balls based on 1 span per each 7 mile section of line
bird flight diverters |  |  | 1,743 spans (of a possible 1,993) |  |  | allowed for diverters in all wetlands, wooded wetlands and forest areas in all segments
STORAGE YARDS INCLUDED
Line Section |  |  | storage yards |  |  | location
500Kv |  |  | 6 |  |  | located at nearest towns along alignment
at this time did not allow for - but would consider 36 month rental duration for all yards
PROJECT MANAGEMENT OFFICE FACILITIES AND PROJECT SUPPORT STAFF
did not inlcude costs for project office location with a duration of 36 months
costs include office and utilities, receptionist, staff assistants, superintendent, project manager, safety coordinator, material coordinator, schedule coordinator
if these are to be included the cost allowed for this is $6.8M over the 3 year period
CONSTRUCTION INSPECTION
allowed for 10 construction inspectors with a duration of 36 months
COMPLIANCE MONITORS
allowed for 6 environmental compliance monitors with a duration of 36 months
ROW MATTING ALLOWED
used average cost per mile to purchase, install and move four times - applied to all wetlands sections - allowed double matting throughout
lengths considered for matting per section are listed below
Segment ID No |  | Wetlands and Wooded Wetlands lengths |  |  | Assumption used for Matting Costs
6 | PQ | 17.4737
11 | RS | 41.2571
14 | QR | 22.2727 |  |  | Cost per mile for labor for install and move to new location |  |  | 362057.1429
15 | Sta | 28.919
18 | TN | 21.6174
19 | NO-26 (BLUE) | 20.4179
BRIDGE MATTING ALLOWED (4'x12"x30')
90 mats purchased at price of $2500 each
labor cost for placement and 1 removal of matting at price of $500 per mat
allowed for mats to be placed and removed to 2 locations
allowed for matting to be installed a total of 95 locations
APPROACH W/CULVERT INCLUDED
allowed for 180 approaches to be installed - from road ways to ROW
ACCESS
considered overland travel on ROW in areas that were farmland, hayland, pasture and shrubland
considered permanent access road system to be developed in forested areas
did not allow for permanent access road system in wetlands or wooded wetlands (typical access is matting)
BMP'S ALLOWED FOR
silt fence - allowed for silt fencing at all approaches - 2 per approach (25ft length ea)
wattle barrier -allowed for wattles at all approaches - 2 per approach (25ft length ea)
mulch and seed - in all pasture and shrub brush land use areas
deep chisel - in all farmland and pasture land use areas
restoration - tower site: allowed for full restoration at all tower locations
restoration - full span: allowed for full span restoration costs in all spans
CONDUCTOR INSTALLATION COSTS INCLUDED
allowed for H frame guard structures at crossings
allowed for ?? 230/345/500kV ehv crossings
OWNER MATERIALS RECEIVED AND YARDED BY CONTRACTOR
did not include costs in estimate to receive and yard 500kV materials - but have cost of $2.3M for this task over a two year period
did not include costs for material storage yards and work show ups - but have cost of $1.1M for this cost over a three year period
[TRADE SECRET DATA EXCISED]