## New 1x1 CC Capital
Revenue Requirements for Natural Gas Combined Cycle (CC) Capital: 1x1 7FA.05 CC
Baseload Performance
UOM
Net Plant Output | kW | 316800
Net Plant Heatrate | Btu/kWh (Hvv) | 6680
Fired Performance
Incremental Plant Output | kW | 91100
Incremental Heatrate | Btu/kWh (Hvv) | 8510
Net Fired Performance
Net Fired Plant Output | kW | 407900
Net Fired Plant Heatrate | Btu/kWh (Hvv) | 7110
Total Project Cost (2012)
Plant Capital | $/kW
Owners Cost | $/kW
AFUDC | $/kW
Total Capital Cost | $/kW
Net Plant Cost | $
Emission Rate
CO2 | lb/MMBtu | 120
O&M Cost (2012)
Fixed | $-kW/yr
Variable | $/MWh
Incremental Variable for Duct Firing | $/MWh
Total Weighted Variable | $/MWh
GT Major Maintenance (2012)
Maintenance | $/GT-h
Transmission Upgrages (2012)
Net Cost | $
Net Cost | $/kW
FCR Build Location | MN
Escalation Rate | 3%
Fixed Charge Rate Capital*
Fixed Charge Rate Transmission*
| Net Plant Cost (Including Transmission) |  |  |  | Levelized Plant Cost |  |  | O&M |  | Major Maintenance | Gas Reservation + Storage Chg
Instalation Year | Net Plant Cost | Net Trx Cost | Total Cost | Total $/kw | Total $ | Total $/kw | Total $/MW-Month | Fixed ($/MW-Month) | Variable ($/MWh) | $/MWh | $/Year
2012
2013
2014
2015
2016
2017
2018
2019
2020
2021
2022
2023
2024
2025
2026
2027
2028
2029
2030
2031
2032
2033
2034
2035
2036
2037
2038
NOTES:
*Fixed Charge Rate from the Nov 2012 Update for 2013 IRP
¹Burns & McDonnell Project Assessment 10/3/2012
STRATEGIST INPUT | 2012 | 2013 | 2014 | 2015 | 2016 | 2017 | 2018 | 2019 | 2020 | 2021 | 2022 | 2023 | 2024 | 2025 | 2026 | 2027 | 2028 | 2029 | 2030 | 2031 | 2032 | 2033 | 2034 | 2035 | 2036 | 2037
Base Levelized Capital ($000/Year)
Fixed O&M + Gas Reservation Charge ($000/Year)
Variable ($/MWh)
Bid Price at Incremental & Minimum ($/MWh)
Low Levelized Capital ($000/Year)
High Levelized Capital ($000/Year)
LPI IR 014.1 Attachment Public Version
[TRADE SECRET DATA EXCISED]
[TRADE SECRET DATA EXCISED]
[TRADE SECRET DATA EXCISED]
[TRADE SECRET DATA EXCISED]
[TRADE SECRET DATA EXCISED]
Note on L49: Eric Palmer (MP): Escalated at the projected rate of inflation (2.1%)